Annexure-III

PROPOSED  GREEN WAREHOUSE  PROJECT  IN  MATTANCHERRY  WHARF AT  COCHIN PORT [PHASE-I]

GREEN MEASURES:

- Plant more than 25 tree saplings per acre

- Use of high SRI roofing materials to minimise heat island effect

- Provision of pedestrian network

- Design of dock levelers in line with the specifications outlined in the EN 1398: 2009 -

- Dock Levellers Safety Requirements or equivalent

- Install automated access controls, including but not limited to, boom barriers, security ollards, RFID based systems and cloud-based applications for vehicular movement

- Install e-charging stations for 20% of the total parking capacity (4 & 2 Wheeler)

- Use electric powered vehicles to cater to 100% of the material handling, excluding hand    operated vehicles, in the warehouse(s) for indoor operations

- Install Solar panels.

- Use of Internet of things(IoI) in Warehouse Management.

- Automated and compact storage system.

- Use of high volume Low speed (HVLS) fans.

- Rain Water Harvesting.

- Recycling plant for waste materials generated from the warehouse.

- Install Warehouse Management System (WMS) integrated with Enterprise Resource  Planning (ERP) software and Transport Management System (TMS)

- Carryout green education activities/ programmes, to increase awareness on eco friendly     practices to the warehouse/ building occupants and visitors

- Use of Cleaner fuel for Service Vehicles – Electric, Biofuels

- Road fleet complying with BS IV or latest emissions norms

- Design & construct energy efficient warehouse envelope – Roof, Wall, Glass, Skylight

- Install lighting controls such as timer control, daylight sensor, occupancy sensor

- Install energy efficient Pumps & Motors that are IE3 class or BEE 5 star rated for   domestic and sewage water supply

- Install DG sets that are BEE 5 Star rated or having Specific Fuel Consumption (SFC)    less than 220 g/kWh

- Install efficient distribution transformers

- Install energy meters for major energy consuming applications

- Use water efficient plumbing fixtures to reduce potable water demand

- Install highly efficient irrigation systems

- On-site waste treatment system and reuse of treated waste water for landscaping   &flushing

- Install water meters for major water consuming applications

- Source CII-Green Pro eco-labelled (or) any other Eco-labelled (Type-I/ ISO 14024tested   & verified) products, materials & equipment for warehouse/ building construction and   operations

- Install an on-site waste treatment system for handling organic (food and garden)waste   generated in the project

- Provide basic amenities for Staff & Drivers.

~~~~