Specifications of Weather Proof Service Cable:

PVC Insulated and PVC Sheathed Twin Core Unarmoured Aluminium Service cable AYY, 1100 V, Confirming to IS 694: 2010 or latest

Conductor: High Tensile Solid Aluminium conductor as per Class 1/ Class 2 of IS: 8130 (Year 1984) or latest

Insulation: PVC Type A as per IS 5831:1984 or latest

Outer Sheath: PVC Type ST1 as per IS 5831: 1984 or latest

Different Sizes (2 Core x 4 sq.mm./2 Core x 6 sq.mm./2 Core x 10 sq. mm.) & Per roll of 450m or as per  the manufacturer’s

- 2C x  4 sq.mm Al. wire  - 1350 m

- 2C  x 6 sq.mm Al. wire – 1350 m &

- 2C  x  10 sq.mm Al. wire – 900 m

Makes:

SARK Cables, ATC & KEI